## Pholyphosphate Quantification
Total polyphosphate quantification kit - Analysis sheet
Instructions
Insert values into the blue fields.
The # sign and green color denote a comment.
Calibration curve phosphate
Phosphate standards [µM] | 20 | 65 | 110 | 155 | 200
Absorbance
Slope
y-intercept
Lower limit of detection [µM Pi] | 5
upper limit of detection [µM Pi] | 200
Negative control
Sample name | Absorbance | Phosphate concentration [µM]
Negative control |  |  | # Should be < 5 µM phosphate.
Positive control
Sample name | Absorbance | PolyP concentration [µM]
Positiv control |  |  | # Should be between 80 and 120 µM polyP.
Samples
|  | Absorbance |  | Concentration undiluted |  | True polyP concentration [µM polyP, as monomer]
Sample name | Dilution [times] | Blank | Sample | Blank [µM phosphate] | Sample [µM polyP + phosphate]

## Polyphosphate Chain Length
Polyphosphate Chain Length Determination - Analysis sheet
Instructions
Insert values into the blue fields.
The # sign and green color denote a comment.
Calibration curve phosphate
Phosphate standards [µM] | 1 | 2.5 | 5 | 7.5 | 10
Fluorescence
Slope
y-intercept
Lower limit of detection [µM Pi] | 1
upper limit of detection [µM Pi] | 10
Negative control
Sample name | Fluorescence | PolyP concentration [µM]
Negative control |  |  | # Should be < 1 µM polyP.
Positive control
Sample name | Fluorescence | PolyP concentration [µM]
Positiv control |  |  | # Should be between 4 and 7 µM polyP.
Samples
|  | Fluorescence |  | Concentration undiluted |  | polyP chain concentration [µM polyP] | average polyP chain length
Sample name | Dilution [times] | Blank | Sample | Blank [µM polyP] | Sample [µM polyP]